Suppl3. Study-level outcome data for all trials and all outcomes

| Outcome | Study | CADe, n/N (%) | Standard, n/N (%) | Risk ratio (95% CI) | Risk difference (%) | Weight (%) |
| --- | --- | --- | --- | --- | --- | --- |
| Overall adenoma detection rate | Repici 2022 [20] | 176/330 (53.3) | 147/330 (44.5) | 1.20 (1.02-1.40) | +8.8 | 24.9 |
|  | Lau 2024 [21] | 222/386 (57.5) | 169/380 (44.5) | 1.29 (1.12-1.49) | +13.0 | 28.4 |
|  | Yamaguchi 2024 [23] | 66/113 (58.4) | 72/118 (61.0) | 0.96 (0.77-1.18) | -2.6 | 16.3 |
|  | Yao 2024 [24] | 47/227 (20.7) | 37/229 (16.2) | 1.28 (0.87-1.89) | +4.5 | 5.8 |
|  | Chang 2026 [22] | 162/401 (40.4) | 225/644 (34.9) | 1.16 (0.99-1.36) | +5.5 | 24.6 |
|  | Pooled (5 trials) | 673/1,457 (46.2) | 650/1,701 (38.2) | 1.17 (1.07-1.29) | +6.9 | 100.0 |
| Right-colon adenoma detection rate | Repici 2022 [20] | 137/330 (41.5) | 119/330 (36.1) | 1.15 (0.95-1.40) | +5.5 | 37.0 |
|  | Lau 2024 [21] | 162/386 (42.0) | 117/380 (30.8) | 1.36 (1.13-1.65) | +11.2 | 37.4 |
|  | Chang 2026 [22] | 97/401 (24.2) | 106/644 (16.5) | 1.47 (1.15-1.88) | +7.7 | 25.7 |
|  | Pooled (3 trials) | 396/1,117 (35.5) | 342/1,354 (25.3) | 1.31 (1.14-1.50) | +8.2 | 100.0 |
| Polyp detection rate | Lau 2024 [21] | 293/386 (75.9) | 235/380 (61.8) | 1.23 (1.11-1.35) | +14.1 | 36.7 |
|  | Yamaguchi 2024 [23] | 69/113 (61.1) | 74/118 (62.7) | 0.97 (0.80-1.19) | -1.6 | 12.3 |
|  | Yao 2024 [24] | 133/227 (58.6) | 117/229 (51.1) | 1.15 (0.97-1.36) | +7.5 | 16.9 |
|  | Chang 2026 [22] | 254/401 (63.3) | 348/644 (54.0) | 1.17 (1.06-1.30) | +9.3 | 34.1 |
|  | Pooled (4 trials) | 749/1,127 (66.5) | 774/1,371 (56.5) | 1.16 (1.08-1.25) | +8.9 | 100.0 |
| Advanced adenoma detection rate | Repici 2022 [20] | 42/330 (12.7) | 42/330 (12.7) | 1.00 (0.67-1.49) | 0.0 | 50.5 |
|  | Lau 2024 [21] | 32/386 (8.3) | 38/380 (10.0) | 0.83 (0.53-1.30) | -1.7 | 40.1 |
|  | Yao 2024 [24] | 11/227 (4.8) | 7/229 (3.1) | 1.59 (0.63-4.02) | +1.8 | 9.3 |
|  | Pooled (3 trials) | 85/943 (9.0) | 87/939 (9.3) | 0.97 (0.73-1.29) | +0.2 | 100.0 |

CADe, computer-aided detection; CI, confidence interval. Study-level risk ratios are inverse-variance estimates with Wald confidence intervals; pooled estimates are DerSimonian-Laird random-effects estimates, and pooled risk differences are separately pooled random-effects estimates, so a pooled risk difference is not the arithmetic mean of the study-level values. Weights are random-effects weights for the risk ratio analysis. For the two tandem trials (Yamaguchi 2024, Yao 2024), values are the trainee-performed first pass. The Yao 2024 advanced adenoma counts were corrected during revision from the whole-process values (13/227 and 11/229) to the first-pass values shown here, for consistency with the extraction rule stated in Section 2.4; this changed the pooled estimate from RR 0.95 (95% CI 0.72-1.26) to RR 0.97 (95% CI 0.73-1.29) and did not alter the conclusion. Yamaguchi 2024 reports advanced-lesion histology only per lesion rather than per patient and therefore does not contribute to the advanced adenoma detection rate analysis.